## MAKE
NAME | COMP_CODE | NO_OPTIONS | NO_OF_CHAR
ACB C&S Electric Limited | 3AC | 1 | 2
Switch C&S Electric Limited | 3SF,3SW | 2 | 2
HRC Fuse Link C&S Electric Limited | 3FL,3CF | 2 | 2
Fuse Base C&S Electric Limited | 3CF | 1 | 2
Contactor C&S Electric Limited | PROG1 | 0 | 0
Pneumatic Timer C&S Electric Limited | PROG2 | 0 | 0
Overload Relay C&S Electric Limited | 1TCOL | 1 | 4
Indicating Instrument MECO/AE/RISHAB/IMP | PROG3 | 0 | 0
CT Pragati/Indcoil/G&M | 3CM,3CP,3CE | 3 | 2
Control Transformer Logicstat/Pragati/Indcoil/G&M | 3TF | 1 | 2
Protection Relay ABB/Alstom/Siemens/GE | 3RN,3RD | 2 | 2
PT Pragati/Indcoil/G&M | 3PT | 1 | 2
Selector Switch Kaycee/Switron | 3SA,3SD,3AS,3VS | 4 | 2
MCB C&S Electric Limited/MDS/Indokopp | 3MC | 1 | 2
MCCB C&S Electric Limited | 3MB,3DM,3M3,3M4,3M2 | 4 | 2
ELCB C&S Electric Limited/Datar/GE/MDS | 3EL | 1 | 2
Indicating Lamp C&S Electric Limited | 3IL | 1 | 2
Push Button C&S Electric Limited | 3PB,3RP | 2 | 2
Cable Gland /Terminal Block C&S Electric Limited | PROG4 | 0 | 0
Cable Lug Dowells/ Jainsons | PROG5 | 0 | 0
Synchronous Timer L&T | 3TISY | 1 | 4
Annunciator Procon/Minilec | 3AN | 1 | 2
APFCR Syntron/AVOMEC | 3CR | 1 | 2
Capacitor Elcop/Mehar | 3CA | 1 | 2
SPPR L&T/Minilec | 3SP | 1 | 2
Thermister Protection Relay OHM SOLITRONICS | 1LTTM | 1 | 4
Transducer AE/Southern/Rishab | 3TR | 1 | 2
Time Totaliser Kaycee | 3TT | 1 | 2
Diode Reputed | 3DI | 1 | 2
Hooter Vaishno/Reputed | 3HO | 1 | 2
KWH Meter GEC/IMP | 3WH | 1 | 2
KWH Meter with MDI IMP | 3MD | 1 | 2
Tri Vector Meter IMP | 1IAATM | 1 | 4
Plug & Socket Crompton Greaves / BCH | 3PS | 1 | 2
Breaker Control Switch Kaycee/Switron | 3BC | 1 | 2
Flasher Relay System & Devices | 3FR | 1 | 2
Isolator MDS/Indokopp | 3IS | 1 | 2